## MAIN BUILDING
MATERIALS AND LABOUR SCHEDULE FOR THE PROPOSED BUNGALOW AND GATE HOUSE
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
1 | SUBSTRUCTURE
a | Excavation and earthwork
i | Scrape off existing topsoil and deposit in an approved location on site | m3 | 436 | m3 | 436 | 427.5 |  | 186390
ii | Excavate Pit for column bases max. depth n/e 2m | m3 | 41.283 | m3 | 41.283 | 2850 |  | 117656.55
iii | Excavate trench for foundation max. depth n/e 2m | m3 | 70.4 | m3 | 70.4 | 2850 |  | 200640
iv | Backfill around foundation. | m3 |  | m3 | 0 | 1000 |  | 0
v | Remove surplus excavated materials. | m3 | 177.083 | m3 | 177.083 | 1500 |  | 265624.5
[8 empty] | 770311.05 | 770311.05
b | Blinding (1:4:8) in trench (Under Column base and GFS)
| Column base | m3 | 1.8765
| Ground floor slab | m3 | 3.7
5.5765
i | Cement in ground beam and bed. | m3 | 5.5765 | bags | 16.7295 | 4150 | 69427.425 | 25094.25
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | load | 0.22083 | 95000 | 20978.793
iii | Granite (30 tons lorry loads) |  |  | load | 0.24046 | 360000 | 86565.1248
[7 empty] | 176971.3428 | 25094.25 | 202065.5928
c | Concrete work (1:2:4)
| Foundation footing | m3 | 6.601
| Bed - 150mm thick | m3 | 11.1 | [6 empty] | 9065
| Ramp and steps | m3 | 3
| Retaining wall base | m3 | 18.9
| Retaining wall | m3 | 13.8
| Column bases and stub columns | m3 | 12.708
66.109
| Cement | m3 | 66.109 | bags | 330.545 | 4150 | 1371761.75 | 429708.5
| Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 2.4434 | 95000 | 232121.9208
| Granite in ditto (30 tons lorry loads). |  |  | loads | 3.3391 | 360000 | 1202059.947
[7 empty] | 2805943.6178 | 429708.5 | 3235652.1178
d | Bar Reinforcement
| 10-12mm bar in ground floor slab | m3 | 1.443
| 12mm bar in column base | m3 | 11.1 | [6 empty] | 9065
| 10-16mm bar in short column | m3 | 3
| 10-16mm bar in Retaining wall base | m3 | 18.9
| 10-16mm bar in Retaining wall | m3 | 13.8
48.243
i | 10-16mm bar reinforcement | tons | 48.243 | tons | 50.6551 | 560000 | 28366884 | 1688505
ii | Binding wire. |  |  | bundles | 41.0065 | 13000 | 533085.15
iii | wire mesh - 6mm thick | m2 | 221 | Sheets | 21.9246 | 12000 | 263095.2381 | 55250
[7 empty] | 29163064.3881 | 1743755 | 30906819.3881
e | Formwork
Sides of Column bases , sides of column in fdn, Edges of bed
i | 1200 x 2400mm marine boards in stub columns and edges of bed | m2 | 160 | nr | 58.3333 | 14000 | 816666.6667 | 160000
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 300 | 650 | 195000
iii | Nails. |  |  | bags | 3 | 14500 | 43500
[7 empty] | 1055166.6667 | 160000 | 1215166.6667
f | Hollow Sandcrete Blockwork laid in cement mortar (1:4) filled with weak conc as described
i | 9" Sandcrete block | m2 | 115 | nr | 1150 | 350 | 402500 | 103500
ii | Cement |  |  | bags | 25.5556 | 4150 | 106055.5556
iii | Sharp Sand |  |  | trip | 0.2484 | 95000 | 23598
iv | Granite |  |  | trip | 0.04945 | 360000 | 17802
[7 empty] | 549955.5556 | 103500 | 653455.5556
g | Filling to make up level
i | Imported filling sand to make up level 250mm thick | m3 | 51 | load | 3.927 | 85000 | 333795 | 31416 | 365211
ii | Imported Hardcore filling | m3 | 26 | load | 1.3 | 250000 | 325000 | 10400 | 335400
| Total substructure to Summary | [5 empty] | 34084896.5709 | 3274184.8 | 37684081.3709
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
2 | FRAMES
a | Concrete work (1:2:4)
i | Cement in columns, beams , slab | m3 | 55 | bags | 165 | 4150 | 684750 | 357500
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 2.475 | 95000 | 235125
iii | Granite in ditto (30 tons lorry loads). |  |  | loads | 2.2 | 360000 | 792000
[7 empty] | 1711875 | 357500 | 2069375
b | Bar Reinforcement
i | 16mm - 10mm diamater bar in columns | tons | 5.2 | tons | 5.72 | 560000 | 3203200 | 200200
ii | Binding wire. |  |  | bundles | 4.42 | 13000 | 57460
[7 empty] | 3260660 | 200200 | 3460860
c | Formwork
i | 1200 x 2400mm marine boards in stub columns and edges of bed | m2 | 650 | nr | 248.2639 | 14000 | 3475694.4444 | 650000
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 780 | 650 | 507000
iii | Bamboo poles |  |  | nr | 500 | 400 | 200000
iii | Nails. |  |  | bags | 5 | 14500 | 72500
[7 empty] | 4255194.4444 | 650000 | 4905194.4444
| Frames and Upper floors to summary | [5 empty] | 9227729.4444 | 1207700 | 10435429.4444
3 | INTERNAL AND EXTERNAL BLOCKWORK
a | Concrete work (1:2:4) in lintels
i | Cement in lintel | m3 | 2 | bags | 6 | 4150 | 24900 | 13000
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 0.09 | 95000 | 8550
iii | Granite in ditto (30 tons lorry loads). |  |  | loads | 0.08 | 360000 | 28800
[7 empty] | 62250 | 13000 | 75250
b | Bar Reinforcement
i | 16mm - 10mm diamater bar in lintel | tons | 0.7 | tons | 0.77 | 560000 | 431200 | 24500
ii | Binding wire. |  |  | bundles | 0.595 | 13000 | 7735
[7 empty] | 438935 | 24500 | 463435
c | Formwork
i | 1200 x 2400mm marine boards in stub columns and edges of bed | m2 | 43 | nr | 16.4236 | 14000 | 229930.5556 | 43000
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 8.2118 | 650 | 5337.6736
iii | Nails. |  |  | bags | 1 | 14500 | 14500
[7 empty] | 249768.2292 | 43000 | 292768.2292
d | Hollow Sandcrete Blockwork laid in cement mortar (1:4) as described
i | 9" Sandcrete block (parapet inclusive) | m2 | 385 | nr | 3850 | 350 | 1347500 | 346500 | 1694000
i | Ditto: 6" Sandcrete block | m2 |  | nr | 0 | 320 | 0 | 0 | 0
ii | Cement |  |  | bags | 85.5556 | 4150 | 355055.5556 |  | 355055.5556
iii | Sharp Sand |  |  | trip | 0.924 | 95000 | 87780 |  | 87780
[7 empty] | 1790335.5556 | 346500 | 2136835.5556
| Internal and external blockwall to summary | [5 empty] | 2541288.7847 | 427000 | 2968288.7847
1 | UPPER FLOOR
a | Concrete work (1:2:4)
i | Cement in columns, beams | m3 | 8 | bags | 24 | 4150 | 99600 | 28000
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 0.36 | 95000 | 34200
iii | Granite in ditto (30 tons lorry loads). |  |  | loads | 0.32 | 360000 | 115200
[7 empty] | 249000 | 28000 | 277000
b | Bar Reinforcement
i | 16mm - 10mm diamater bar in columns | tons | 3 | tons | 3.3 | 560000 | 1848000 | 75000
ii | Binding wire. |  |  | bundles | 2.55 | 13000 | 33150
[7 empty] | 1881150 | 75000 | 1956150
c | Formwork
i | 300mm x 3600mm hardwood in columns, | m2 | 105 | nr | 91.0301 | 12500 | 1137876.1574 | 105000
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 75 | 650 | 48750
iii | Nails. |  |  | bags | 2 | 14500 | 29000
[7 empty] | 1215626.1574 | 105000 | 1320626.1574
| Upper floors to summary | [5 empty] | 3345776.1574 | 208000 | 3553776.1574
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
2 | INTERNAL AND EXTERNAL BLOCKWORK
a | Concrete work (1:2:4) in lintels
i | Cement in lintel | m3 | 2 | bags | 6 | 4150 | 24900 | 7000
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 0.09 | 95000 | 8550
iii | Granite in ditto (30 tons lorry loads). |  |  | loads | 0.08 | 360000 | 28800
[7 empty] | 62250 | 7000 | 69250
b | Bar Reinforcement
i | 16mm - 10mm diamater bar in lintel | tons | 0.55 | tons | 0.605 | 560000 | 338800 | 13750
ii | Binding wire. |  |  | bundles | 0.4675 | 13000 | 6077.5
[7 empty] | 344877.5 | 13750 | 358627.5
c | Formwork
i | 300mm x 3600mm hardwood in lintel | m2 | 25 | nr | 3.1829 | 12500 | 39785.8796 | 25000
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 22.5 | 650 | 14625
iii | Nails. |  |  | bags | 1 | 14500 | 14500
[7 empty] | 68910.8796 | 25000 | 93910.8796
d | Hollow Sandcrete Blockwork laid in cement mortar (1:4) as described
i | 9" Sandcrete block (parapet inclusive) | m2 | 420 | nr | 4200 | 350 | 1470000 | 231000 | 1701000
i | Ditto: 6" Sandcrete block | m2 | 102 | nr | 1020 | 320 | 326400 | 56100 | 382500
ii | Cement |  |  | bags | 116 | 4150 | 481400 |  | 481400
iii | Sharp Sand |  |  | trip | 1.2528 | 95000 | 119016 |  | 119016
[7 empty] | 2396816 | 287100 | 2683916
| Internal and external blockwall to summary | [5 empty] | 2872854.3796 | 332850 | 3205704.3796
3 | ROOF
a | Concrete work (1:2:4) in Upstand beams , Roof Slab, Roof beams and roof slab
i | Cement in stub columns | m3 | 7 | bags | 21 | 4150 | 87150 | 35000
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | loads | 0.315 | 95000 | 29925
iii | Granite in ditto (30 tons lorry loads). |  |  | loads | 0.28 | 360000 | 100800
[7 empty] | 217875 | 35000 | 252875
b | Bar Reinforcement
i | 10-16mm diamater bar in ditto | tons | 1.5 | tons | 1.575 | 560000 | 882000 | 55125 | 937125
ii | Binding wire. |  |  | bundles | 1.275 | 7500 | 9562.5 |  | 9562.5
[7 empty] | 891562.5 | 55125 | 946687.5
c | Formwork
i | 300mm x 3600mm hardwood | m2 | 60 | nr | 22.9167 | 14000 | 320833.3333 | 60000 | 380833.3333
ii | 1200 x 2400mm marine boards in stub columns and edges of bed |  |  | nr | 100 | 650 | 65000 |  | 65000
iii | Nails. |  |  | bags | 3 | 14500 | 43500 |  | 43500
[7 empty] | 429333.3333 | 60000 | 489333.3333
Water Proof Materials
d | 4mm Mariseal 250 polyurethane coating | m2 | 25 | m2 | 25 | 3500 |  | 87500 | 87500
ROOF COVERING
f | 0.5mm coloured longspan aluminium roofing sheet to approved colour fixed to hardwood purlins with drive screws including waterproofing membrane and all acessories
i | Roof covering | m2 | 255 | m2 | 255 | 5000 | 1275000 | 229500 | 1504500
Carpentary and joinery
Treated sawn hardwood roof members to be soaked in solignum or other approved chemicals
iii | 100 x 50mm rafter and strut | m | 115 | nr | 38.3333 | 800 | 30666.6667 |  | 30666.6667
v | 150 x 100mm tie beam | m | 195 | nr | 65 | 1200 | 78000 | 19500 | 97500
vi | 75 x 50mm Purlins | m | 315 | nr | 105 | 700 | 73500 | 31500 | 105000
vii | 150 x 75mm wall plate | m | 115 | nr | 38.3333 | 1200 | 46000 | 11500 | 57500
viii | 50 x 50mm Noggings | m | 764 | nr | 254.6667 | 450 | 114600 | 76400 | 191000
ix | Allow for treatment of wood | [6 empty] | 100000
x | Nails |  |  | bags | 6 | 14500 | 87000
[7 empty] | 1704766.6667 | 468400 | 1986166.6667
| Roof to summary | [5 empty] | 3243537.5 | 706025 | 3762562.5
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
Supply and install approved turkey doors in accordance with Architect's Specifications
| Metal flush door overall size 900mm x 2100mm high | nr | 16 | nr | 16 | 150000 | 2400000 |  | 2400000
| Ditto 750mm x 2100mm high | nr | 13 | nr | 13 | 120000 | 1560000 |  | 1560000
| Ditto 1200mm x 2100mm high | nr | 2 | nr | 2 | 200000 | 400000 |  | 400000
Aluminium Structural Windows Approved colour powder coated Aluminium window glazed with 5mm thick green tinted glass panes obtainable from approved manufacturer with subframes and insect netting and pointed internally and externally with mastic complete with necessary ironmongery in accordance with Architect drawing's and manufacturer's details
| Aluminium sliding window size 1500 x 1800mm high. | nr | 2 | nr | 2 | 90000 | 180000 |  | 180000
| Ditto size 1200 x 1800 high | nr | 12 | nr | 12 | 57600 | 691200 |  | 691200
| Ditto size 1000 x 1800mm high | nr | 7 | nr | 7 | 72000 | 504000 |  | 504000
| Ditto size 750 x 5500 high | nr | 8 | nr | 8 | 165000 | 1320000 |  | 1320000
| Ditto size 600 x 5500mm high | nr | 4 | nr | 4 | 132000 | 528000 |  | 528000
| Ditto size 600 x 600mm high | nr | 13 | nr | 13 | 14400 | 187200 |  | 187200
| Ditto size 450 x 2000mm high | nr | 4 | nr | 4 | 36000 | 144000 |  | 144000
Burglary Proofing Burglary proofing to suit the following window opening sizes:
| Aluminium sliding window size 1500 x 1800mm high. | nr | 2 | nr | 2 | 45000 | 90000 |  | 90000
| Ditto size 1200 x 1800 high | nr | 12 | nr | 12 | 28800 | 345600 |  | 345600
| Ditto size 1000 x 1800mm high | nr | 7 | nr | 7 | 36000 | 252000 |  | 252000
| Ditto size 750 x 5500 high | nr | 8 | nr | 8 | 82500 | 660000 |  | 660000
| Ditto size 600 x 5500mm high | nr | 4 | nr | 4 | 66000 | 264000 |  | 264000
| Ditto size 600 x 600mm high | nr | 13 | nr | 13 | 7200 | 93600 |  | 93600
| Ditto size 450 x 2000mm high | nr | 4 | nr | 4 | 18000 | 72000 |  | 72000
| Door and windows to summary | [5 empty] | 9691600 | 0 | 9691600
FITTINGS AND FIXTURES
Mild steel balustrading
| Balustrade |  |  | sum |  |  | 800000 |  | 800000
| Kitchen cabinet |  |  | sum |  |  | 900000 |  | 900000
| Wardrobe | [5 empty] | 1000000 |  | 1000000
| Fittings and fixtures to summary | [5 empty] | 1000000 | 0 | 2700000
SERVICES
PLUMBING INSTALLATION
| Allow a provisional sum for all plumbing works in accordance with mechanical design | [5 empty] | 3000000 |  | 3000000
| Plumbing installation to summary | [5 empty] | 3000000 | 0 | 3000000
ELECTRICAL INSTALLATION
| Allow for the provisional sum for electrical work in accordance with electrical design | [5 empty] | 5000000 |  | 5000000
| Electrical installation to summary | [5 empty] | 5000000 | 0 | 5000000
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
5 | FINISHINGS
Wall Finishes
a | Rendering (1:4) 13mm thick to wall and surface not exceeding 200mm wide
i | Cement in rendering. | m2 | 1714 | bags | 205.68 | 4150 | 853572 | 685600 | 1539172
ii | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 4 | 100000 | 400000 |  | 400000
Cement Board Cladding
iv | Cement Board | m2 | 40 | m2 | 40 | 5500 | 220000 | 20000 | 240000
Wall Tilling
iv | Cement | m2 | 545 | bags | 121.94 | 4150 | 506051 | 327000 | 833051
v | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 1 | 100000 | 100000 |  | 100000
vi | 300 X 600 X 11.5mm thick ceramics wall tiles |  |  | m2 | 599.5 | 7000 | 4196500 |  | 4196500
vii | White cement 5kg |  |  | bags | 15 | 2500 | 37500 |  | 37500
viii | Gum 5kg |  |  | bags | 15 | 2000 | 30000 |  | 30000
[7 empty] | 6343623 | 1012600 | 7356223
b | Floor finishings
Screeded beds (1:4)
i | Cement in screeded bed. | m2 | 492 | bags | 110.7 | 4150 | 459405 | 123000 | 582405
ii | Sharp sand in ditto (20 tons lorry load). |  |  | load | 1.23 | 95000 | 116850 |  | 116850
Floor tiles
iii | 8mm x 300mm x 300mm vetrified tiles | m2 | 450 | m2 | 472.5 | 7000 | 3307500 | 225000 | 3532500
| 100mm vitrified tiles skirting | m | 280 | m2 | 30.8 | 7000 | 215600 | 56000 | 271600
iv | White cement 25kg |  |  | bags | 10 | 2500 | 25000 |  | 25000
v | Gum 20kg |  |  | bags | 10 | 2000 | 20000 |  | 20000
vi | Portland Cement |  |  | bags | 11.25 | 4150 | 46687.5 |  | 46687.5
[7 empty] | 4191042.5 | 404000 | 4595042.5
6 | FINISHINGS Cont'd
a | Ceiling finishings
b | Pop Ceiling
i | Cast In-situ POP finishings | m2 | 480 | m2 | 480 | 6000 | 2880000 | 240000 | 3120000
| Ceiling Finishes to summary | [5 empty] | 2880000 | 240000 | 3120000
7 | FINISHINGS COLLECTION
a | Wall finishings | [5 empty] | 6343623 | 1012600 | 7356223
b | Floor finishings | [5 empty] | 4191042.5 | 404000 | 4595042.5
c | Ceiling finishings | [5 empty] | 2880000 | 240000 | 3120000
| Finishings to Summary | [5 empty] | 13414665.5 | 1656600 | 15071265.5
8 | PAINTING AND DECORATION
i | Dulux Emulsion paint | m2 | 1214 | drums | 22.7625 | 50000 | 1138125 | 182100 | 1320225
ii | Potty filler. |  |  | nr | 18 | 2500 | 45000 |  | 45000
iii | Sandpaper. |  |  | sheets | 12.14 | 2000 | 24280 |  | 24280
| Painting and decoration to Summary | [5 empty] | 1207405 | 182100 | 1389505
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
EXTERNAL WORKS
1 | FENCE WORK/GATE HOUSE
New Works
a | Excavation and earthwork
i | Excavate trench including Level and compacting | m3 | 37 | m3 | 37 | 500 |  | 18500 | 18500
ii | Ditto Pit excavation | m3 | 44 | m3 | 44 | 500 |  | 22000 | 22000
[8 empty] | 40500 | 40500
b | Blinding (1:3:6) in trench (Under Column base and bed)
i | Cement | m3 | 2 | bags | 6 | 4150 | 24900 | 10000 | 34900
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | load | 0.0792 | 95000 | 7524 |  | 7524
iii | Granite (30 tons lorry loads) |  |  | load | 0.08624 | 360000 | 31046.4 |  | 31046.4
[7 empty] | 63470.4 | 10000 | 73470.4
Concrete (1:2:4) in column base, columns and foundation footing
ii | Cement | m3 | 32 | bags | 96 | 4150 | 398400 | 160000 | 558400
| Sharp sand in ditto (20 tons lorry loads). |  |  | load | 1.44 | 95000 | 136800 |  | 136800
| Granite (30 tons lorry loads) |  |  | load | 1.28 | 360000 | 460800 |  | 460800
[7 empty] | 996000 | 160000 | 1156000
d | Bar Reinforcement
i | 10-16mm bar reinforcement | tons | 1.23 | tons | 1.2915 | 560000 | 723240 | 30750 | 753990
ii | Binding wire. |  |  | bundles | 1.0455 | 7500 | 7841.25 |  | 7841.25
[7 empty] | 731081.25 | 30750 | 761831.25
e | Formwork
i | 1200 x 2400mm marine boards | m2 | 117 | nr | 14.8958 | 14000 | 208541.6667 | 58500 | 267041.6667
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 105.3 | 650 | 68445 |  | 68445
iii | Nails. |  |  | bags | 1.17 | 14500 | 16965 |  | 16965
[7 empty] | 293951.6667 | 58500 | 352451.6667
f | Hollow Sandcrete Blockwork laid in cement mortar (1:4) filled with weak conc as described
i | 9" Sandcrete block | m2 | 195 | nr | 1950 | 350 | 682500 | 126750 | 809250
iii | Cement |  |  | bags | 43.3333 | 4150 | 179833.3333 |  | 179833.3333
iv | Sharp Sand |  |  | trip | 1 | 95000 | 95000 |  | 95000
[7 empty] | 957333.3333 | 126750 | 1084083.3333
g | Rendering (1:4) 13mm thick to wall and surface not exceeding 200mm wide
i | Cement in rendering. | m2 | 300 | bags | 36 | 4150 | 149400 | 120000 | 269400
ii | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 1 | 80000 | 80000 |  | 80000
[7 empty] | 229400 | 120000 | 349400
h | Painting and decoration
i | Dulux Emulsion paint | m2 | 264 | drums | 4.95 | 25000 | 123750 | 39600 | 163350
ii | Potty filler. |  |  | nr | 5 | 800 | 4000 |  | 4000
iii | Sandpaper. |  |  | sheets | 8 | 1500 | 12000 |  | 12000
| Painting and decoration to Summary | [5 empty] | 139750 | 39600 | 179350
Metal works
a | Supply and instal approved design metal gate size 4000mm x 2100mm | nr | 2 | nr | 2 | 520000 | 1040000 |  | 1040000
b | Supply and instal concentina with and including angle irons | m | 107 | m | 107 | 1800 | 192600 |  | 192600
[7 empty] | 1232600 | 0 | 1232600
| Fence work to summary | [5 empty] | 4643586.65 | 586100 | 5229686.65
SOFT LANDSCAPING
c | Excavate vegetable soil average 150mm thick | m2 | 77 | m2 | 1378 | 150 | 206700 |  | 206700
d | Supply and plant approved grass with and including 100mm thick manure soiling and maintain until maturity | m2 | 77 | m2 | 1378 | 500 | 689000 |  | 689000
[7 empty] | 895700 | 0 | 895700
WALKWAY
e | Level and compact site to recieve concrete | m2 | 350 | m2 | 22 | 100 |  | 2200 | 2200
Concrete grade 25 including all necessary formworks and suitable reinforcement
| Cement | m3 | 52.5 | bags | 283.5 | 4150 | 1176525 | 262500 | 1439025
| Sharp sand (20 tons lorry loads). |  |  | loads | 0.11088 | 55000 | 6098.4 |  | 6098.4
| Granite (30 tons lorry loads). |  |  | loads | 2.6517 | 174000 | 461393.625 |  | 461393.625
[7 empty] | 1644017.025 | 264700 | 1908717.025
BOREHOLE
| Include a sum for the drilling of borehole with and including supply and installation of approved submersible pump | sum |  |  |  |  | 500000 |  | 500000
SEPTIC TANK AND SOAK AWAY
| Include a sum for septic tanks, soakaway pits and asociated inspection chambers | sum |  |  |  |  | 800000 |  | 800000
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
EXTERNAL WORKS COLLECTION
1 | Perimeter Fencing/Gate House | [5 empty] | 4643586.65 | 586100 | 5229686.65
2 | Soft Landscaping | [5 empty] | 895700 | 0 | 895700
3 | Walkway | [5 empty] | 1644017.025 | 264700 | 1908717.025
4 | Borehole | [5 empty] | 500000 | 0 | 500000
5 | Septic Tank And Soakaway Pits | [5 empty] | 800000 | 0 | 800000
| External Work Carried To Summary | [5 empty] | 8483303.675 | 850800 | 9334103.675
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
SUMMARY
1 | SUBSTRUCTURE | [5 empty] | 34084896.5709 | 3274184.8 | 37684081.3709
2 | FRAMES AND UPPER FLOORS | [5 empty] | 9227729.4444 | 1207700 | 10435429.4444
3 | INTERNAL AND EXTERNAL BLOCKWALL | [5 empty] | 2541288.7847 | 427000 | 2968288.7847
4 | UPPER FLOORS | [5 empty] | 3345776.1574 | 208000 | 3553776.1574
5 | INTERNAL AND EXTERNAL BLOCKWALL | [5 empty] | 2872854.3796 | 332850 | 3205704.3796
6 | ROOF WORK | [5 empty] | 3243537.5 | 706025 | 3762562.5
7 | WINDOWS AND DOORS | [5 empty] | 9691600 |  | 9691600
8 | FIXTURES AND FITTINGS | [5 empty] | 1700000 | 0 | 1700000
9 | MECHANICAL INSTALLATION | [5 empty] | 3000000 | 0 | 3000000
10 | ELECTRICAL INSTALLATION | [5 empty] | 5000000 | 0 | 5000000
11 | FINISHINGS | [5 empty] | 13414665.5 | 1656600 | 15071265.5
12 | PAINTING AND DECORATION | [5 empty] | 1207405 | 182100 | 1389505
13 | EXTERNAL WORKS | [5 empty] | 8483303.675 | 850800 | 9334103.675
| MAIN BUILDING CARRIED TO GENERAL SUMMARY | [5 empty] | 49097452.3001 | 5614909.8 | 54850362.1001

## FINISHINGS
MATERIALS AND LABOUR SCHEDULE FOR THE PROPOSED TWIN DUPLEX DEVELOPMENT
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
DOORS AND WINDOWS
Supply and install approved turkey doors in accordance with Architect's Specifications
| Metal flush door overall size 900mm x 2100mm high | nr | 16 | nr | 16 | 150000 | 2400000 |  | 2400000
| Ditto 750mm x 2100mm high | nr | 13 | nr | 13 | 120000 | 1560000 |  | 1560000
| Ditto 1200mm x 2100mm high | nr | 2 | nr | 2 | 200000 | 400000 |  | 400000
Aluminium Structural Windows Approved colour powder coated Aluminium window glazed with 5mm thick green tinted glass panes obtainable from approved manufacturer with subframes and insect netting and pointed internally and externally with mastic complete with necessary ironmongery in accordance with Architect drawing's and manufacturer's details
| Aluminium sliding window size 1500 x 1800mm high. | nr | 2 | nr | 2 | 90000 | 180000 |  | 180000
| Ditto size 1200 x 1800 high | nr | 12 | nr | 12 | 57600 | 691200 |  | 691200
| Ditto size 1000 x 1800mm high | nr | 7 | nr | 7 | 72000 | 504000 |  | 504000
| Ditto size 750 x 5500 high | nr | 8 | nr | 8 | 165000 | 1320000 |  | 1320000
| Ditto size 600 x 5500mm high | nr | 4 | nr | 4 | 132000 | 528000 |  | 528000
| Ditto size 600 x 600mm high | nr | 13 | nr | 13 | 14400 | 187200 |  | 187200
| Ditto size 450 x 2000mm high | nr | 4 | nr | 4 | 36000 | 144000 |  | 144000
Burglary Proofing Burglary proofing to suit the following window opening sizes:
| Aluminium sliding window size 1500 x 1800mm high. | nr | 2 | nr | 2 | 45000 | 90000 |  | 90000
| Ditto size 1200 x 1800 high | nr | 12 | nr | 12 | 28800 | 345600 |  | 345600
| Ditto size 1000 x 1800mm high | nr | 7 | nr | 7 | 36000 | 252000 |  | 252000
| Ditto size 750 x 5500 high | nr | 8 | nr | 8 | 82500 | 660000 |  | 660000
| Ditto size 600 x 5500mm high | nr | 4 | nr | 4 | 66000 | 264000 |  | 264000
| Ditto size 600 x 600mm high | nr | 13 | nr | 13 | 7200 | 93600 |  | 93600
| Ditto size 450 x 2000mm high | nr | 4 | nr | 4 | 18000 | 72000 |  | 72000
| Door and windows to summary | [5 empty] | 9691600 | 0 | 9691600
FITTINGS AND FIXTURES
Mild steel balustrading
| Balustrade |  |  | sum |  |  | 800000 |  | 800000
| Kitchen cabinet |  |  | sum |  |  | 900000 |  | 900000
| Wardrobe | [5 empty] | 1000000 |  | 1000000
| Fittings and fixtures to summary | [5 empty] | 1000000 | 0 | 2700000
SERVICES
PLUMBING INSTALLATION
| Allow a provisional sum for all plumbing works in accordance with mechanical design | [5 empty] | 3000000 |  | 3000000
| Plumbing installation to summary | [5 empty] | 3000000 | 0 | 3000000
ELECTRICAL INSTALLATION
| Allow for the provisional sum for electrical work in accordance with electrical design | [5 empty] | 5000000 |  | 5000000
| Electrical installation to summary | [5 empty] | 5000000 | 0 | 5000000
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
5 | FINISHINGS
Wall Finishes
a | Rendering (1:4) 13mm thick to wall and surface not exceeding 200mm wide
i | Cement in rendering. | m2 | 1714 | bags | 205.68 | 4150 | 853572 | 685600 | 1539172
ii | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 4 | 100000 | 400000 |  | 400000
Cement Board Cladding
iv | Cement Board | m2 | 40 | m2 | 40 | 5500 | 220000 | 20000 | 240000
Wall Tilling
iv | Cement | m2 | 545 | bags | 121.94 | 4150 | 506051 | 327000 | 833051
v | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 1 | 100000 | 100000 |  | 100000
vi | 300 X 600 X 11.5mm thick ceramics wall tiles |  |  | m2 | 599.5 | 7000 | 4196500 |  | 4196500
vii | White cement 5kg |  |  | bags | 15 | 2500 | 37500 |  | 37500
viii | Gum 5kg |  |  | bags | 15 | 2000 | 30000 |  | 30000
[7 empty] | 6343623 | 1012600 | 7356223
b | Floor finishings
Screeded beds (1:4)
i | Cement in screeded bed. | m2 | 492 | bags | 110.7 | 4150 | 459405 | 123000 | 582405
ii | Sharp sand in ditto (20 tons lorry load). |  |  | load | 1.23 | 95000 | 116850 |  | 116850
Floor tiles
iii | 8mm x 300mm x 300mm vetrified tiles | m2 | 450 | m2 | 472.5 | 7000 | 3307500 | 225000 | 3532500
| 100mm vitrified tiles skirting | m | 280 | m2 | 30.8 | 7000 | 215600 | 56000 | 271600
iv | White cement 25kg |  |  | bags | 10 | 2500 | 25000 |  | 25000
v | Gum 20kg |  |  | bags | 10 | 2000 | 20000 |  | 20000
vi | Portland Cement |  |  | bags | 11.25 | 4150 | 46687.5 |  | 46687.5
[7 empty] | 4191042.5 | 404000 | 4595042.5
6 | FINISHINGS Cont'd
a | Ceiling finishings
b | Pop Ceiling
i | Cast In-situ POP finishings | m2 | 480 | m2 | 480 | 6000 | 2880000 | 240000 | 3120000
| Ceiling Finishes to summary | [5 empty] | 2880000 | 240000 | 3120000
7 | FINISHINGS COLLECTION
a | Wall finishings | [5 empty] | 6343623 | 1012600 | 7356223
b | Floor finishings | [5 empty] | 4191042.5 | 404000 | 4595042.5
c | Ceiling finishings | [5 empty] | 2880000 | 240000 | 3120000
| Finishings to Summary | [5 empty] | 13414665.5 | 1656600 | 15071265.5
8 | PAINTING AND DECORATION
i | Emulsion paint | m2 | 1214 | drums | 22.7625 | 50000 | 1138125 | 182100 | 1320225
ii | Potty filler. |  |  | nr | 18 | 2500 | 45000 |  | 45000
iii | Sandpaper. |  |  | sheets | 12.14 | 2000 | 24280 |  | 24280
| Painting and decoration to Summary | [5 empty] | 1207405 | 182100 | 1389505
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
SUMMARY
7 | WINDOWS AND DOORS | [5 empty] | 9691600 |  | 9691600
8 | FIXTURES AND FITTINGS | [5 empty] | 1700000 | 0 | 1700000
9 | MECHANICAL INSTALLATION | [5 empty] | 3000000 | 0 | 3000000
10 | ELECTRICAL INSTALLATION | [5 empty] | 5000000 | 0 | 5000000
11 | FINISHINGS | [5 empty] | 13414665.5 | 1656600 | 15071265.5
12 | PAINTING AND DECORATION | [5 empty] | 1207405 | 182100 | 1389505
| GENERAL SUMMARY | [5 empty] | 34013670.5 | 1838700 | 35852370.5

## EXTERNAL WORKS
MATERIALS AND LABOUR SCHEDULE FOR THE PROPOSED TWIN DUPLEX DEVELOPMENT
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
EXTERNAL WORKS
1 | FENCE WORK/GATE HOUSE
New Works
a | Excavation and earthwork
i | Excavate trench including Level and compacting | m3 | 37 | m3 | 37 | 500 |  | 18500 | 18500
ii | Ditto Pit excavation | m3 | 44 | m3 | 44 | 500 |  | 22000 | 22000
[8 empty] | 40500 | 40500
b | Blinding (1:3:6) in trench (Under Column base and bed)
i | Cement | m3 | 2 | bags | 6 | 4150 | 24900 | 10000 | 34900
ii | Sharp sand in ditto (20 tons lorry loads). |  |  | load | 0.0792 | 95000 | 7524 |  | 7524
iii | Granite (30 tons lorry loads) |  |  | load | 0.08624 | 360000 | 31046.4 |  | 31046.4
[7 empty] | 63470.4 | 10000 | 73470.4
Concrete (1:2:4) in column base, columns and foundation footing
ii | Cement | m3 | 32 | bags | 96 | 4150 | 398400 | 160000 | 558400
| Sharp sand in ditto (20 tons lorry loads). |  |  | load | 1.44 | 95000 | 136800 |  | 136800
| Granite (30 tons lorry loads) |  |  | load | 1.28 | 360000 | 460800 |  | 460800
[7 empty] | 996000 | 160000 | 1156000
d | Bar Reinforcement
i | 10-16mm bar reinforcement | tons | 1.23 | tons | 1.2915 | 560000 | 723240 | 30750 | 753990
ii | Binding wire. |  |  | bundles | 1.0455 | 7500 | 7841.25 |  | 7841.25
[7 empty] | 731081.25 | 30750 | 761831.25
e | Formwork
i | 1200 x 2400mm marine boards | m2 | 117 | nr | 14.8958 | 12500 | 186197.9167 | 58500 | 244697.9167
ii | 50 x 75 x 3600mm timber support/bracing in ditto. |  |  | nr | 105.3 | 650 | 68445 |  | 68445
iii | Nails. |  |  | bags | 1.17 | 14500 | 16965 |  | 16965
[7 empty] | 271607.9167 | 58500 | 330107.9167
f | Hollow Sandcrete Blockwork laid in cement mortar (1:4) filled with weak conc as described
i | 9" Sandcrete block | m2 | 195 | nr | 1950 | 350 | 682500 | 126750 | 809250
iii | Cement |  |  | bags | 43.3333 | 4150 | 179833.3333 |  | 179833.3333
iv | Sharp Sand |  |  | trip | 1 | 95000 | 95000 |  | 95000
[7 empty] | 957333.3333 | 126750 | 1084083.3333
g | Rendering (1:4) 13mm thick to wall and surface not exceeding 200mm wide
i | Cement in rendering. | m2 | 300 | bags | 36 | 4150 | 149400 | 120000 | 269400
ii | Plaster sand in ditto (20 tons lorry loads). |  |  | load | 1 | 80000 | 80000 |  | 80000
[7 empty] | 229400 | 120000 | 349400
h | Painting and decoration
i | Emulsion paint | m2 | 264 | drums | 4.95 | 25000 | 123750 | 39600 | 163350
ii | Potty filler. |  |  | nr | 5 | 2500 | 12500 |  | 12500
iii | Sandpaper. |  |  | sheets | 8 | 2000 | 16000 |  | 16000
| Painting and decoration to Summary | [5 empty] | 152250 | 39600 | 191850
Metal works
a | Supply and instal approved design metal gate size 4000mm x 2100mm | nr | 2 | nr | 2 | 520000 | 1040000 |  | 1040000
b | Supply and instal concentina with and including angle irons | m | 107 | m | 107 | 2500 | 267500 |  | 267500
[7 empty] | 1307500 | 0 | 1307500
| Fence work to summary | [5 empty] | 4708642.9 | 586100 | 5294742.9
SOFT LANDSCAPING
c | Excavate vegetable soil average 150mm thick | m2 | 77 | m2 | 1378 | 250 | 344500 |  | 344500
d | Supply and plant approved grass with and including 100mm thick manure soiling and maintain until maturity | m2 | 77 | m2 | 1378 | 1000 | 1378000 |  | 1378000
[7 empty] | 1722500 | 0 | 1722500
WALKWAY
e | Level and compact site to recieve concrete | m2 | 350 | m2 | 22 | 200 |  | 4400 | 4400
Concrete grade 25 including all necessary formworks and suitable reinforcement
| Cement | m3 | 52.5 | bags | 283.5 | 4150 | 1176525 | 262500 | 1439025
| Sharp sand (20 tons lorry loads). |  |  | loads | 0.11088 | 55000 | 6098.4 |  | 6098.4
| Granite (30 tons lorry loads). |  |  | loads | 2.6517 | 174000 | 461393.625 |  | 461393.625
[7 empty] | 1644017.025 | 266900 | 1910917.025
BOREHOLE
| Include a sum for the drilling of borehole with and including supply and installation of approved submersible pump | sum |  |  |  |  | 500000 |  | 500000
SEPTIC TANK AND SOAK AWAY
| Include a sum for septic tanks, soakaway pits and asociated inspection chambers | sum |  |  |  |  | 800000 |  | 800000
Item | Description | Unit | Qty |  | Material |  |  | Labour (N) | Total (N)
|  |  |  | Unit | Qty | Rate (N) | Amount (N)
EXTERNAL WORKS COLLECTION
1 | Perimeter Fencing/Gate House | [5 empty] | 4708642.9 | 586100 | 5294742.9
2 | Soft Landscaping | [5 empty] | 1722500 | 0 | 1722500
3 | Walkway | [5 empty] | 1644017.025 | 266900 | 1910917.025
4 | Borehole | [5 empty] | 500000 | 0 | 500000
5 | Septic Tank And Soakaway Pits | [5 empty] | 800000 | 0 | 800000
| External Work Carried To Summary | [5 empty] | 9375159.925 | 853000 | 10228159.925